## Slide 1
47th STGEC – Biloxi, MS – Nov. 10, 2016
iCAP Pile Testing
Ronald Jones
Graduate Student
Eric Steward, Ph.D., P.E.
Assistant Professor
Department of Civil, Coastal, and Environmental Engineering
University of South Alabama
Investigation of Signal Matching Software iCAP on Driven Piles in Alabama

## Slide 2
47th STGEC – Biloxi, MS – Nov. 10, 2016
Pile Testing
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
Verification of design during installation
Larger projects will install test piles at various locations
Smaller projects will verify production piles during installation
Software enhances the determination of pile resistance during driving and later
“A DRIVEN PILE IS A TESTED PILE!”

## Slide 3
47th STGEC – Biloxi, MS – Nov. 10, 2016
Pile Testing
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
“A DRIVEN PILE IS A TESTED PILE!”

## Slide 4
47th STGEC – Biloxi, MS – Nov. 10, 2016
Pile Testing
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
“A DRIVEN PILE IS A TESTED PILE!”

## Slide 5: Dynamic Pile Testing
47th STGEC – Biloxi, MS – Nov. 10, 2016
Pile Testing
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
Estimates static resistance
Estimates internal pile stresses
Verifies pile integrity

## Slide 6: PDA results: Case Method
47th STGEC – Biloxi, MS – Nov. 10, 2016
Pile Testing
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
Uses Case method equations
Provides immediate pile resistances (RX7 Total Resistance)
Assumed soil damping values (J)

## Slide 7: Dynamic Pile Testing – Signal Matching Software
47th STGEC – Biloxi, MS – Nov. 10, 2016
Pile Testing
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
CAPWAP® is an iterative process to develop soil/pile interaction model
  Provides accurate toe and shaft resistances
  Provides load/displacement and iteratively determine the damping factor (J)
  Claims to be as accurate as Static Load Testing
  Requires trained, experienced personnel
  Non-unique results
  Time-consuming

## Slide 8: Dynamic Pile Testing – Signal Matching Software
47th STGEC – Biloxi, MS – Nov. 10, 2016
Pile Testing
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
CAPWAP® is an iterative process to develop soil/pile interaction model
  Provides accurate toe and shaft resistances
  Provides load/displacement and iteratively determine the damping factor (J)
  Claims to be as accurate as Static Load Testing
  Requires trained, experienced personnel
  Non-unique results
  Time-consuming

## Slide 9: Dynamic Pile Testing – Signal Matching Software
47th STGEC – Biloxi, MS – Nov. 10, 2016
Pile Testing
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
iCAP® is an automatic Signal Matching Program within the PDA
  Provides accurate toe and shaft resistances
  Provides load/displacement and iteratively determine the damping factor (J)
  Claims to be as accurate as CAPWAP???
  Requires trained, experienced personnel
  Non-unique results
  Time-consuming

## Slide 10: Dynamic Pile Testing – Signal Matching Software
47th STGEC – Biloxi, MS – Nov. 10, 2016
Pile Testing
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
iCAP® is an automatic Signal Matching Program within the PDA
  Provides accurate toe and shaft resistances
  Provides load/displacement and iteratively determine the damping factor (J)
  Claims to be as accurate as CAPWAP???
  Requires trained, experienced personnel
    Performed by the PDA Operator
  Non-unique results
  Time-consuming

## Slide 11: Dynamic Pile Testing – Signal Matching Software
47th STGEC – Biloxi, MS – Nov. 10, 2016
Pile Testing
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
iCAP® is an automatic Signal Matching Program within the PDA
  Provides accurate toe and shaft resistances
  Provides load/displacement and iteratively determine the damping factor (J)
  Claims to be as accurate as CAPWAP???
  Requires trained, experienced personnel
    Performed by the PDA Operator
  Non-unique results
    Program performs process, so one solution
  Time-consuming

## Slide 12: Dynamic Pile Testing – Signal Matching Software
47th STGEC – Biloxi, MS – Nov. 10, 2016
Pile Testing
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
iCAP® is an automatic Signal Matching Program within the PDA
  Provides accurate toe and shaft resistances
  Provides load/displacement and iteratively determine the damping factor (J)
  Claims to be as accurate as CAPWAP???
  Requires trained, experienced personnel
    Performed by the PDA Operator
  Non-unique results
    Program performs process, so one solution
  Time-consuming
    Instantaneous results in the field

## Slide 13: iCAP– Signal Matching Software
47th STGEC – Biloxi, MS – Nov. 10, 2016
Pile Testing
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
iCAP analysis requires high quality data:
No clipping of signals
Good proportionality
Good agreement between acceleration traces
Moderate bending
No indicated pile damage
- F. Rausche at PDI

## Slide 14
University of South Alabama, Department of Civil Engineering
AL DOT Research Objectives
Develop a statewide database for pile test data
Analyze and Evaluate pile setup in Alabama
Develop resistance factors for design of piles in setup prone soils
Provide recommendations to utilize setup in design of future pile projects throughout the state
  Provide information regarding LRFD resistance factors
  Implement preliminary soil testing regime for design
45th STGEC - Mobile, AL – Oct. 29, 2014
ALDOT Project
47th STGEC – Biloxi, MS – Nov. 10, 2016
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering

## Slide 15
Type equation here.
Data Collection
Pile Driving Test Data GIS Map
Collected all pile load tests from 2009 – 2014
  PDA Data (27)
  19 Clayey Sand
    All produced setup effects
  8 Silt or silty sand
    7 slightly relaxed

## Slide 16
University of South Alabama, Department of Civil Engineering
iCAP Data Accuracy
45th STGEC - Mobile, AL – Oct. 29, 2014
Pile iCAP Analysis
47th STGEC – Biloxi, MS – Nov. 10, 2016
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
Chart: ALDOT PPC Piles
| 312.2 | 281.7 | 152.19999999999999 | 263.89999999999998 | 315.7 | 203.5 | 276.3 | 336.5 | 304.2 | 126.5 | 142.30000000000001 | 429.1 | 438.3 | 222.2 | 338.6 | 213.7 | 297.5 | 319.10000000000002 | 428.5 | 459.9 | 265.10000000000002 | 245.5 | 146.69999999999999 | 176.9 | 87 | 151.30000000000001 | 276.8 | 564.5 | 650.29999999999995 | 642 | 790.5 | 945.9 | 934.1 | 838.6 | 951.8 | 988.6 | 1023.4 | 1158.3 | 1814.9
 | 424 | 478 | 156 | 375 | 774 | 269 | 518 | 378 | 407 | 187 | 335 | 617 | 633 | 342 | 447 | 269 | 382 | 545 | 485 | 587 | 380 | 465 | 158 | 377 | 115 | 232 | 284 | 784 | 797 | 977 | 863 | 941 | 930 | 892 | 1538 | 1453 | 1011 | 1548 | 1800
EOID | 424 | 156 | 269 | 378 | 187 | 617 | 342 | 269 | 485 | 380 | 158 | 115 | 784 | 892
BOR | 478 | 375 | 774 | 518 | 407 | 335 | 633 | 447 | 382 | 545 | 587 | 465 | 377 | 232 | 284 | 797 | 977 | 863 | 941 | 930 | 1538 | 1453 | 1011 | 1548 | 1800

## Slide 17
University of South Alabama, Department of Civil Engineering
iCAP Data Accuracy
45th STGEC - Mobile, AL – Oct. 29, 2014
Pile iCAP Analysis
47th STGEC – Biloxi, MS – Nov. 10, 2016
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
Chart: ALDOT H-Piles
| 149.69999999999999 | 168 | 143.4 | 128.69999999999999 | 181.9 | 175 | 151.5 | 131.4 | 155.6 | 183 | 199.8 | 198.3 | 384 | 704.1 | 331.7 | 256.39999999999998 | 327.9 | 390.6 | 152.80000000000001 | 231.7 | 240 | 222 | 468.9 | 155.80000000000001 | 318.3 | 232.3 | 469.7 | 592 | 592.70000000000005
 | 204 | 218 | 225 | 204 | 259 | 255 | 254 | 252 | 256 | 310 | 366 | 385 | 450 | 695 | 378 | 398 | 375 | 457 | 294 | 336 | 450 | 370 | 400 | 191 | 570 | 435 | 454 | 505 | 560
 | 204 | 218 | 225 | 204 | 259 | 255 | 254 | 252 | 256 | 310 | 366 | 385 | 450 | 695 | 378 | 398 | 375 | 457 | 294 | 336 | 450 | 370 | 400 | 191 | 570 | 435 | 454 | 505 | 560

## Slide 18
University of South Alabama, Department of Civil Engineering
iCAP Data Accuracy
45th STGEC - Mobile, AL – Oct. 29, 2014
Pile iCAP Analysis
47th STGEC – Biloxi, MS – Nov. 10, 2016
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
Chart: ALDOT Pile Test Comparison between PDA and iCAP

## Slide 19
University of South Alabama, Department of Civil Engineering
iCAP Data Accuracy
45th STGEC - Mobile, AL – Oct. 29, 2014
Pile iCAP Analysis
47th STGEC – Biloxi, MS – Nov. 10, 2016
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering
Chart: iCAP-Ru vs CAPWAP-Ru
1:1 | 592.7

## Slide 20
Project Location
45th STGEC - Mobile, AL – Oct. 29, 2014
Pile Tests in AL
University of South Alabama, Department of Civil Engineering
47th STGEC – Biloxi, MS – Nov. 10, 2016
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering

## Slide 21: Pile Setup Comparison Mobile River, AL
Type equation here.
10
HP 12 x 53
50
110
90
70
30
HP 14 x 117
PC 24” Sq.
PC 36” Sq.
EOD SSR
EOD Toe
EOD Total
80 k
72 k
152 k*
112 k
44 k
156 k
241 k
323 k
564 k
617 k
222 k
839 k
Medium to Dense Sand
Clay

## Slide 22
University of South Alabama, Department of Civil Engineering
Comparing iCAP Results with SLT
Chart: Pile ID
| 26 | 27 | 28
Design Load | 140 | 310 | 320
SLT (Davisson) | 212 | 560 | 1050
iCAP | 222 | 592 | 945.9
ε = 4.7%
ε = 9.9%
ε = 5.7%
45th STGEC - Mobile, AL – Oct. 29, 2014
Pile Testing
47th STGEC – Biloxi, MS – Nov. 10, 2016
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering

## Slide 23
University of South Alabama, Department of Civil Engineering
iCAP Testing Conclusions
iCAP is a Signal Matching software
  Requires high quality data
  Acceptable for AASHTO Bridge Design
  Instant pile resistance results
Comparison to CAPWAP is very good
More data is always needed
45th STGEC - Mobile, AL – Oct. 29, 2014
Pile iCAP Testing
47th STGEC – Biloxi, MS – Nov. 10, 2016
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering

## Slide 24
University of South Alabama, Department of Civil Engineering
Current project evaluating the design process compared to static load tests
Enhancing LRFD resistance factors
45th STGEC - Mobile, AL – Oct. 29, 2014
Pile Research
47th STGEC – Biloxi, MS – Nov. 10, 2016
Approved project to develop pile test database
Develop regional LRFD resistance factors
NTP expected any day
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering

## Slide 25
University of South Alabama, Department of Civil Engineering
Questions
Comments
Suggestions
45th STGEC - Mobile, AL – Oct. 29, 2014
Shelby Hall - USA
Thank you Alabama Department of Transportation
47th STGEC – Biloxi, MS – Nov. 10, 2016
University of South Alabama - Dept. of Civil, Coastal, and Enviro. Engineering